## Electricity_TOU_Rates
Hub_Code | City_State | Off_Peak_Rate_USD_per_kWh | Mid_Peak_Rate_USD_per_kWh | On_Peak_Rate_USD_per_kWh | Public_DCFC_EnRoute_Rate_USD_per_kWh
HUB_NORTH | Allentown, PA (PPL Electric) | 0.0915 | 0.142 | 0.238 | 0.445
HUB_CENTRAL | Greensboro, NC (Duke Energy) | 0.088 | 0.135 | 0.225 | 0.43
HUB_SOUTH | Jacksonville, FL (JEA Power) | 0.096 | 0.149 | 0.252 | 0.465

## Demand_Charges_and_Ratchets
Hub_Code | Utility_Provider | Demand_Charge_USD_per_kW_month | Billing_Demand_Interval_Minutes | Rolling_Ratchet_Percentage | Facility_Transformer_Firm_Capacity_MW
HUB_NORTH | PPL Electric Utilities - Rate LP-4 Large Power | 24.5 | 15 | 85.0% | 2.5
HUB_CENTRAL | Duke Energy Carolinas - Rate L-OPT Industrial | 21 | 15 | 85.0% | 2.5
HUB_SOUTH | JEA Commercial High Load - Rate GSD-T | 26.8 | 15 | 85.0% | 2.5
NOTE_1 | Coincident peak demand is measured as the maximum integrated average power in any 15-minute billing window during the month.
NOTE_2 | Under the 85% rolling ratchet clause, monthly billed demand is calculated as MAX(Actual_Monthly_Peak_kW, 0.85 * Highest_Peak_kW_in_Past_11_Months).
NOTE_3 | If total depot charging load exceeds the existing 2.50 MW facility transformer firm capacity, a mandatory utility interconnection and substation expansion is required before commissioning.

## Substation_Upgrade_Costs
Hub_Code | Required_Capacity_Addition_MW | Utility_Interconnection_CapEx_USD | Lead_Time_Months | Utility_Cost_Allocation_Status
HUB_NORTH | 1.50 MW (to 4.00 MW) | 850000 | 14 | Non-Reimbursable Customer Capital Contribution
HUB_CENTRAL | 1.50 MW (to 4.00 MW) | 950000 | 12 | Non-Reimbursable Customer Capital Contribution
HUB_SOUTH | 1.50 MW (to 4.00 MW) | 1150000 | 16 | Non-Reimbursable Customer Capital Contribution